## Program Info
LIBERTY UTILITIES - ARKANSAS
PRESCRIPTIVE REBATE PROGRAM
Lighting & Prescriptive Worksheet
This form is valid January 1, 2023 to December 31, 2023
Pre-Approval
Projects that meet the Prescriptive Rebate Program’s requirements do not require pre-approval. Customers may apply to the program to seek pre-approval and incentive commitment for their projects.
Eligibility Requirements
1. Incentives are available to electric customers served under any non-residential rate schedule in Liberty Utilities (‘Liberty’) Arkansas service territory.
2. Please review the Prescriptive Rebate Program Application Form including Program Guidelines, Instructions for Applying (on application form) and Program Terms and Conditions. Applicants must agree to the Terms and Conditions to participate.
Incentives
1. Total incentives of up to $20,000 per customer are available for the first nine months of the program year. If funds are available during the last three months of the program year, Liberty Utilities may choose to exceed the $20,000 incentive limit for projects that are completed and submitted to the program during this period. The customer incentive limit includes any incentives received through the Custom Rebate Program.
2. Multiple rebate applications for different measures may be submitted. Each individual measure will be evaluated on its own merits.
3. Similar measures that are proposed in different facilities or buildings will be evaluated separately.
To Apply:
Step 1 – Complete and Submit Application Form
Complete the LIBERTY UTILITIES ARKANSAS PRESCRIPTIVE REBATE PROGRAM application form and the Lighting & Prescriptive Worksheet (this document). Provide equipment specifications and then submit to Liberty per the application form. Call the Liberty helpline at 800-639-0077 ext. 6177 if you need any assistance. If project has been completed, copies of material, equipment, and labor invoices should be included with the application. If application is for pre-approval, the copies of all invoices should be sent to Liberty upon project completion.
Step 2 – Project Review and Inspection
All rebate applications will be individually reviewed and analyzed by Liberty to determine if the proposed energy efficiency measures are eligible for a rebate. Liberty may schedule and perform an inspection of the installed equipment.
Step 3 – Payment
Rebate payments will be in the form of a check, bill credit, and/or a combination of the two, and will be determined by the Program Terms and Conditions in the Prescriptive Rebate Program Application Form.

## LED Lighting
Lighting Qualifying Measures (cont.)
Equipment | Specifications | Maximum Rebate per Unit | CALC Rebate per Unit | Unit Quantity | Rebate
LED Exit Signs
LED Exit Signs | Replace incandescent exit sign with LED exit sign. | $15 per fixture | 15 |  | 0
LED ENERGY STAR® Qualified Interior Lamps
Omnidirectional LED Bulb (<10W) | Replace incandescent lamps with ENERGY STAR® listed LED lamps and luminaires. | $0.85 per lamp | 0.85 |  | 0
Omnidirectional LED Bulb (≥10W) |  | $0.85 per lamp | 0.85 |  | 0
Directional LED Bulb (<15W) | Replace incandescent lamps with ENERGY STAR® listed LED lamps and luminaires. | $0.85 per lamp | 0.85 |  | 0
Directional LED Bulb (≥15W) |  | $0.85 per lamp | 0.85 |  | 0
LED Wall Mounted Area Lights
Less than 30W | Replace HID* systems with LED systems. Fixtures are required to be rated for outdoor use. Fixtures must be listed on the Design Lights Consortium (DLC) Qualified Products list | $50 per fixture | 50 |  | 0
30W to 75W |  | $50 per fixture | 50 |  | 0
Greater than 75W |  | $90 per fixture | 90 |  | 0
LED Exterior Flood Lights
Less than 15W (<15W) | Replace halogen or HID systems with LED systems. Fixtures are required to be rated for outdoor use. Fixtures must have at least a 5 year warranty from the manufacturer. | $15 per fixture | 15 |  | 0
15W or greater (≥15W) |  | $20 per fixture | 20 |  | 0
LED Fixtures for Parking Garage/Canopy Installations
Less than 30W | Replace HID* systems with LED systems. Fixtures must be listed on the Design Lights Consortium (DLC) Qualified Products list. | $75 per fixture | 75 |  | 0
30W to 75W |  | $140 per fixture | 140 |  | 0
Greater than 75W |  | $225 per fixture | 225 |  | 0
LED Fixtures for High or Low Bay Installations
LED High or Low Bay Fixture <=10,000 lumens | Replace HID* or fluorescent systems with LED systems. Fixtures must be listed on the Design Lights Consortium (DLC) Qualified Products list. | $20 per fixture | 20 |  | 0
*High-intensity discharge (HID) systems include mercury vapor, high-pressure sodium, metal halide and pulse-start metal halide.
|  |  |  | LED Lighting Rebate Total | 0
LibertyAR_ver3.1 |  |  |  | Cumulative from all pages | 0

## Lighting
Lighting Qualifying Measures
Equipment |  | Specifications | Maximum Rebate per Unit | CALC Rebate per Unit | Unit Quantity | Rebate
Lighting Optimization
Removal of at least one lamp from a T8 fixture. Fixture must include high efficiency electronic ballast. There must be permanent removal of lamps, ballasts and sockets in the system being rebated. This rebate may not be combined with other rebates for lamp or fixture replacement.
Removal of 4 ft. T8 lamps |  | Reduce the number of existing T8 lamps per fixture. Must include low ballast factor (≤ 0.85). | $6 per fixture | 6 |  | 0
Removal of 8 ft. T8 lamps |  | Reduce the number of existing T8 lamps per fixture. Must include low ballast factor (≤ 0.85). | $8 per fixture | 8 |  | 0
Low-Wattage Fluorescent T8 Lamps
Low Wattage T8, 4 foot lamps |  | Replace 32 Watt lamps in existing fixtures with 28 Watt or less lamps. | $1 per fixture | 1 |  | 0
High-Bay Fluorescent Fixtures with Electronic Ballasts
T5 High Bay | 2-3 lamps | Replace High-intensity discharge (HID) high bay fixtures with 2 or 3 lamp T5 high bay fixtures | $50 per fixture | 50 |  | 0
T5 High Bay | 4-6 lamps | Replace High-intensity discharge (HID) high bay fixtures with 4 to 6 lamp T5 high bay fixtures | $83 per fixture | 83 |  | 0
T5 High Bay | 8-10 lamps | Replace High-intensity discharge (HID) high bay fixtures with 8 to 10 lamp T5 high bay fixtures | $135 per fixture | 135 |  | 0
*High-intensity discharge (HID) systems include mercury vapor, high-pressure sodium, metal halide and pulse-start metal halide.
[5 empty] | Lighting Rebate Total: | 0
[5 empty] | Cumulative from all pages: | 0

## HVAC
Heating and Cooling Systems
Type and Size | Minimum Requirement | Rebate / Ton | Tons | Quantity | Rebate
Packaged A/C & Split Systems
5.4 Tons or less | 15 SEER | 30 |  |  | 0
Greater than 5.4 Tons to 11.25 Tons | 12 EER | 30 |  |  | 0
Greater than 11,25 Tons to 20 Tons | 12 EER | 30 |  |  | 0
Greater than 20 Tons to 30 Tons | 10.3 EER | 10 |  |  | 0
Water Source Heat Pump Systems
11.25 Tons or less | 14 EER | 50 |  |  | 0
|  |  |  | HVAC Rebate Total | 0
|  |  |  | Cumulative from all pages | 0

## Chillers
Chillers
HVAC equipment efficiency criteria are based on applicable ARI standards at standard conditions per ARI Standard 550/590-98 using a non-CFC refrigerant. Attach a copy of manufacturer’s performance sheet showing Full Load and Integrated Part Load Value (IPLV) efficiencies. Only units that meet BOTH minimum Full Load and IPLV requirements are eligible for rebates. Air-cooled chiller efficiencies shall include condenser fan energy consumption.
Type and Size | Minimum Requirement | Rebate / Ton | Tons | Quantity | Rebate
Water Cooled Chiller, Centrifugal (ARI Standard Conditions: 44°F leaving chilled water, 2.4 gpm/ton. 85°F entering condenser water, 3.0 gpm/ton)
Less than 300 Tons | Full Load: 0.576 kW/ton & IPLV 0.596 kW/ton | 10 |  |  | 0
300 Tons to Less Than 600 Tons | Full Load: 0.576 kW/ton & IPLV: 0.549 kW/ton | 10 |  |  | 0
600 Tons and Above | Full Load: 0.57 kW/ton & IPLV: 0.539 kW/ton | 10 |  |  | 0
|  |  |  | Chiller Rebate Total | 0
|  |  |  | Cumulative from all pages | 0

## VFDs
Variable Frequency Drives
Qualifications |  |  | Drive Size Range | Rebate per HP
VFD for HVAC and Refrigeration Condenser Fans |  |  | 0.5 - 1.5 HP | $55 per Drive
Varaible Frequency Drive - Equipment Information
Manufacturer | Model # | Drive Size (HP) | Quantity | Rebate
0
0
0
0
0
0
0
0
0
Total HP: |  |  | 0 | 0
|  |  | VFD Rebate Total | 0
|  |  | Cumulative from all pages | 0

## Refrigeration and Food Service
Refrigeration and Food Service
Type | Rebate | CALC Rebate | Manufacturer / Model | Quantity | Rebate
Anti-Sweat Door Heater Controls (Retrofit Only) |  |  |  | Quantity - Number of Cases
Controls for Medium Temperature Refrigerated Display Cases | $100 per case | 5 |  |  | 0
Controls for Low Temperature Refrigerated Display Cases | $100 per case | 5 |  |  | 0
Strip Curtains for Walk-In Coolers and Freezers |  |  |  | Quantity - Square Feet
Strip Curtains - Walk-In Coolers - must be minimum 0.06 inches thick | $5 per square foot | 100 |  |  | 0
Strip Curtains - Freezers - must be minimum 0.06 inches thick | $5 per square foot | 100 |  |  | 0
|  |  |  | Refrigeration and Food Service rebate total | 0
|  |  |  | Cumulative from all pages | 0